1. General.

AB ORLEN Lietuva (Mažeikių str. 75, Juodeikiai Vill., Mažeikiai Distr. Municipality) is in the process of constructing a new process unit, which will include the commissioning/startup of the following equipment:

- - 6kV equipment relay protection and automation;

- - 0.4kV equipment relay protection and automation;

- - Direct current panels;

- -  UPS;

- - Frequency converters;

- - Motor soft starters.

- 1 supervisor is required for supervising the commissioning/startup of the equipment as specified by the Owner.

2. Attachments

Attachment 1.  Daily cost report form

3. Description and specifics of work.

3.1. Work description.

Supervision of electrical equipment commissioning/startup activities performed by other Contractors and Subcontractors of the Owner.

- Systematic participation in the commissioning/startup activities;

- Assessment of the scope and adequacy of commissioning/startup activities in accordance with the Electric Equipment Testing Standards and Scopes;

- Inspection of the quality of activities being performed;

- Acceptance of completed commissioning/startup activities;

- Participation in functional (complex) tests;

- Checking of the accuracy of as-built control and installation diagrams for internal and external connections;

- Checking of the commissioning/startup reports, confirmation that the measurements and test results comply with the requirements of the applicable regulations by signing the reports;

- Review of the electric equipment operating instructions prepared by the Contractors for the operating staff and issue of relevant recommendations;

- Submission of information to the Owner on the progress of the commissioning/startup activities;

- Submission of  timely written information to the Owner on identified nonconformities and deficiencies.

3.2. Special requirements (if any).

- The Contractor shall provide hourly rates in the proposal - for weekdays (8:00 to 17:00) and for overtime (17:00 to 8:00/weekends/nights/holidays). Hourly rates shall include all additional costs such as transport, accommodation, equipment, etc. The time needed to go to the workplace shall be included in the hourly rate. Time for lunch (1 hour) shall not be included in the records of working time.

- The execution of supervision works (e.g. review of technical documentation) is limited to the territories of AB ORLEN Lietuva and RHCU.

- For the purposes of keeping of working time records, the Contractor shall complete the daily cost report form set out in Attachment 1 and submit it to the Owner once a week for approval.

- The Contractor carrying out the commissioning/startup of RHCU electrical equipment listed in SOW, cannot provide supervision of the commissioning/startup works.

3.3. Requirements for work execution and documentation.

None.

3.4. Qualification requirements for Contractor.

- The Contractor must be authorized to operate relay protection, automation and control systems for power grids up to 10kV.

- The Contractor must have certificates valid in the Republic of Lithuania, authorizing him to inspect electrical installations up to 10kV, to operate (test and commission) relay protection equipment and to perform the functions of a work supervisor, work executor, and crew member in electrical installations up to 10kV.

- The Contractor must be able to read drawings, control and logic diagrams, and know the principles of relay protection and operation of automation and power electronics.

- The Contractor must be able to use English (speak, read and write) in the professional environment.

4. Materials, equipment, and services to be provided by the Owner.

## The Owner will provide a place for work (without IT equipment) in the administration premises.

5. Materials, equipment, and services to be provided by the Contractor.

## No supply of materials and equipment required.

6. Requirements for work completion.

None.

7. Requirements for work acceptance.

Technical documentation has been verified, signed and handed over to the Owner.

8. Requirements for work schedule.

1. Commissioning/start-up works are scheduled during the period of 1 May 2025 to 30 September 2026.  When providing hourly rates, the Contractor shall take into account that the specified schedule is preliminary and the Owner  may initiate an extension of the contract until 31 December 2026.

2. The Contractor's attendance of all commissioning activities throughout the duration of the works is not mandatory and is on an as needed basis – as specified by the Owner. The Owner will inform the Contract of the need for this service at least 7 calendar days in advance. The service will be ordered for a period of at least 5 working days.

3. The need for overtime work will be determined by the Owner and agreed in advance with the Contractor.