10 ltr cilindre su 2 ventiliais dujinei (gas) ir skystai (liquid) fazėms, su skystos fazės paėmimo nuo dugno vamzdeliu, prijungimas DIN1, kairinis sriegis. privalumas - matavimų neapibrėžtis. Sudetis,

mg/kg:

Dimethyl ether 10 ,

Diethyl ether 10 ,

Acetaldehyde 10 ,

Ethyl tert-butyl ether 10 ,

Methyl tert-butyl ether (MTBE) 10 ,

Diisopropyl ether DIPE) 10 ,

Propionaldehyde (Propanal) 10 ,

Tertiary amyl methyl ether (TAME) 10 ,

Dipropyl ether 10 ,

lsobutylaldehyde 10 ,

Butylaldehyde 10 ,

Methanol 10 ,

Acetone 10 ,

lsovaleraldehyde 10 ,

Valeraldehyde 10 ,

2-Butanone (MEK) 10 ,

Ethanol 10 ,

N-propyl alcohol (1-propanol) 10 ,

isopropanol 10 ,

Allyl Alcohol 10 ,

lsobutanol 10 ,

Tert-butyl alcohol 10 ,

Sec-Butanol 10 ,

N-butanol (butan-1-ol) 10 ,

n-BUTANE (baze)

**EN version:** 10 ltr cylinder with 2 valves for gas and liquid phases, with a liquid phase sampling tube from the bottom, connection DIN1, left-hand thread. advantage - measurement uncertainty. Composition, mg/kg:

Dimethyl ether 10 ,

Diethyl ether 10 ,

Acetaldehyde 10 ,

Ethyl tert-butyl ether 10 ,

Methyl tert-butyl ether (MTBE) 10 ,

Diisopropyl ether DIPE) 10 ,

Propionaldehyde (Propanal) 10 ,

Tertiary amyl methyl ether (TAME) 10 ,

Dipropyl ether 10 ,

lsobutylaldehyde 10 ,

Butylaldehyde 10 ,

Methanol 10 ,

Acetone 10 ,

lsovaleraldehyde 10 ,

Valeraldehyde 10 ,

2-Butanone (MEK) 10 ,

Ethanol 10 ,

N-propyl alcohol (1-propanol) 10 ,

isopropanol 10 ,

Allyl Alcohol 10 ,

lsobutanol 10 ,

Tert-butyl alcohol 10 ,

Sec-Butanol 10 ,

N-butanol (butan-1-ol) 10 ,

n-BUTANE (baze)