**Priedas\_Nr.5\_bill of materials**

**basic equipment BILL OF MATERIALS**

*Table No. 1. basic equipment bill of materials*

| Eil. Nr. | NAME | Compliance:  YES/NO | Q-ty | Q-ty |
| --- | --- | --- | --- | --- |
|  | **115/6,3/6,3kV, 115/30kV POWER**  **TRANSFORMERS** |  |  |  |
|  | Power transformer 115/6,3/6,3 kV 63MVA |  | Pcs. | 2 |
|  | Power transformer 115/30 kV 90MVA |  | Pcs. | 2 |
|  | 115/6,3/6,3 kV, 115/30 kV power transformer  cooling power supply and automation cabinet. |  | Pcs. | 4 |
|  | Three-phase transformer tap changer power supply and automation cabinet |  | Pcs. | 4 |
|  | Power transformer auxiliary measuring  circuits and technological protections circuit cabinet |  | Pcs. | 4 |
|  | 110 kV current transformers supplied  complete with a power transformer |  | Pcs. | 12 |
|  | Other |  |  |  |