1. General.

Maintenance of electrical equipment in accordance with additionally provided detailed SOWs and work descriptions during AB ORLEN Lietuva turnaround scheduled in 2027.

2. Attachments.

Attachment No 1 Maintenance schedule

Works will be performed in accordance with the work packages ERP03-TPP64, ERP04-TPP64, ERP03-TPP65, ERP04-TPP65.

3. Description and specifics of work.

3.1. Description of work.

Execution of works in accordance with their descriptions in work packages.

3.2. Special requirements (if any).

Before submitting a proposal, the Contractor shall arrive to the site to evaluate the scope of works.

3.3. Requirements for work execution and documentation.

Together with the proposal, the Contractor shall provide the list of similar works performed by the Contractor during the last 5 years.

3.4. Qualification requirements for Contractor.

- The Contractor shall submit copies of qualification documents issued by the relevant institutions of the Republic of Lithuania.

- The Contractor must present one of the NERC certificates entitling to perform the following works:

  - Operation of up to 10 kV power network and units;

  - Operation of relay protection, automation and control systems for power networks of up to 10 kV;

- Contractor's employees shall be certified energy workers entitled to perform works in operating electrical facilities up to 10 kV.

- Contractor shall have a work manager for the performance of the functions provided for in the Safety Rules for the Operation of Electrical Facilities – issue of work permits, coordination of the work executed by the crew.

4. Materials, equipment, and services provided by OWNER.

## Owner will supply spares for those parts that have been damaged and cannot be repaired by replacing components, cleaning, etc.

5. Materials, equipment, and services provided by Contractor.

## The Contractor shall supply chemical and abrasive cleaning materials. Use of these materials shall be agreed with the Owner.

6. Requirements for work completion.

At the end of the work stage, the Contractor shall hand over the performed works to the Owner by submitting test reports/draft test reports, performing functional tests.

7. Requirements for work acceptance.

The Contractor shall submit the signed maintenance documentation to the Owner.

8. Requirements for work schedule.

1. The planned schedule for performance of works is: from 5 April 2027 to 15 May 2027.

2. Submission and approval of maintenance documentation no later than four weeks after the completion of the work stage.