**1. General.**

Maintenance of electrical equipment in accordance with additionally provided detailed SOWs and work descriptions during AB ORLEN Lietuva turnaround scheduled in 2027.

**2. Attachments.**

Attachment No 1 Maintenance schedule

Works will be performed in accordance with the work packages ERP01-TPP4, ERP02-TPP4, ERP01-TPP24, ERP02-TPP24.

**3. Description and specifics of work.**

**3.1. Description of work.**

Works shall be executed in accordance with the descriptions in work packages.

**3.2. Special requirements (if any).**

Before submitting a proposal, the Contractor shall arrive to the site to evaluate the scope of works.

**3.3. Requirements for work execution and documentation.**

Together with the proposal, the Contractor shall provide the list of similar works performed by the Contractor during the last 5 years.

**3.4. Qualification requirements for Contractor.**

* The Contractor shall submit copies of qualification documents issued by the relevant institutions of the Republic of Lithuania.
* The Contractor must present one of the NERC certificates entitling to perform the following works:
  + Operation of up to 10 kV power network and units;
  + Operation of relay protection, automation and control systems for power networks of up to 10 kV;
* Contractor's employees shall be certified energy workers entitled to perform works in operating electrical facilities up to 10 kV.
* Contractor shall have a work manager for the performance of the functions provided for in the Safety Rules for the Operation of Electrical Facilities – issue of work permits, coordination of the work executed by the crew.

**4. Materials, equipment, and services provided by OWNER.**

## Owner will supply spares for those parts that have been damaged and cannot be repaired by replacing components, cleaning, etc.

**5. Materials, equipment, and services provided by Contractor.**

## The Contractor shall supply chemical and abrasive cleaning materials. Use of these materials shall be agreed with the Owner.

**6. Requirements for work completion.**

At the end of the work stage, the Contractor shall hand over the performed works to the Owner by submitting test reports/draft test reports, performing functional tests.

**7. Requirements for work acceptance.**

The Contractor shall submit the signed maintenance documentation to the Owner.

**8. Requirements for work schedule.**

1. The planned schedule for performance of works is: from 5 April 2027 to 15 May 2027.

2. Submission and approval of maintenance documentation no later than four weeks after the completion of the work stage