Scope of Work

0.4 kV Electrical Equipment Repair Works

1. General Information

Technical maintenance and repair of 0.4 kV electrical equipment at TPP-63 KTP-1, KTP-2, TPP-64 KTP-1, KTP-2 and TPP-65 KTP-2.

2. Attachments

- KTP work scope description

- TPP-63 KTP-1 single-line diagrams

- TPP-63 KTP-2 single-line diagrams

- TPP-64 KTP-1 single-line diagrams

- TPP-64 KTP-2 single-line diagrams

- TPP-65 KTP-2 single-line diagrams

- 2027 outage schedule

- Requirements for electrical work certificates issued by VERT

3. Description and Specifics of the Work

3.1. Work Description

3.1.1 TPP-64 KTP-1 Section 1 switchgear repair (as detailed in the SWITCHGEAR work scope).

3.1.2 TPP-64 KTP-1 Section 1 circuit breaker and protection system adjustment and testing (as detailed in the KTP work scope).

3.1.3 TPP-64 KTP-1 Section 2 switchgear repair (as detailed in the SWITCHGEAR work scope).

3.1.4 TPP-64 KTP-1 Section 2 circuit breaker and protection system adjustment and testing (as detailed in the KTP work scope).

3.1.5 TPP-64 KTP-2 Section 1 switchgear repair (as detailed in the SWITCHGEAR work scope).

3.1.6 TPP-64 KTP-2 Section 1 circuit breaker and protection system adjustment and testing (as detailed in the KTP work scope).

3.1.7 TPP-64 KTP-2 Section 2 switchgear repair (as detailed in the SWITCHGEAR work scope).

3.1.8 TPP-64 KTP-2 Section 2 circuit breaker and protection system adjustment and testing (as detailed in the SWITCHGEAR work scope).

3.1.9 TPP-65 KTP-2 Section 1 switchgear repair (as detailed in the SWITCHGEAR work scope).

3.1.10 TPP-65 KTP-2 Section 1 circuit breaker and protection system adjustment and testing (as detailed in the SWITCHGEAR work scope).

3.1.11 TPP-65 KTP-2 Section 2 switchgear repair (as detailed in the SWITCHGEAR work scope).

3.1.12 TPP-65 KTP-2 Section 2 circuit breaker and protection system adjustment and testing (as detailed in the SWITCHGEAR work scope).

3.2. Specific Requirements (if applicable)

None.

3.3. Requirements for Work Execution and Documentation

After completion of the repair works, the contractor must carry out all necessary measurements and tests defined in the “Electrical Equipment Testing Norms and Scope” and the “Electrical Installation Regulations.”
The contractor must submit all test protocols and other required technical documentation.

3.4. Contractor Qualification Requirements

The Contractor and Subcontractors must hold VERT-issued certificates permitting the following activities required for work at AB ORLEN Lietuva:

- Repair of electric motors and generators from 30 kW up to 1 MW

- Repair of electrical networks up to 110 kV

- Testing of electrical networks up to 110 kV

- Operation of relay protection, automation, and control systems up to 110 kV

- Repair of electrical networks and equipment up to 10 kV

- Testing of electrical networks and equipment up to 10 kV

- Operation of relay protection, automation, and control systems up to 10 kV

- Operation of electrical networks and equipment up to 1000 V

- Testing of electrical networks and equipment up to 1000 V

- Operation of special electrical installations

- Operation of electrical installations up to 1000 V

A complete list is included in the attachments.

4. Materials, Equipment, and Services Supplied by the Client

The Client supplies all materials related to the repair, except for cleaning and lubrication materials required during the repair work.

5. Materials, Equipment, and Services Supplied by the Contractor

The Contractor must supply all materials required for cleaning and lubrication during the repair works.

6. Requirements for Work Completion

- Handover–Acceptance Statement for Performed Works

- Submit electrical measurement protocols.

7. Requirements for Work Acceptance

The works are considered fully completed when, in accordance with the procedure established by AB ORLEN Lietuva, the contractor submits:

- repair protocols,

- testing and electrical measurement protocols,

- Handover–Acceptance Statement for Performed Works

8. Requirements for the Work Schedule

The period is planned to coincide with the ORLEN Lietuva Refinery TA2027 (preliminarily scheduled for spring 2027; the exact start date and duration will be specified later).