1. General.

- Electrical installation works in OS-2 S-200 according to Design OLP02585 430-10. Installation of S-200 isolation dampers with fire protection at the bottom of column K-201 according to the HAZOP study“. - Provide the ‘As-Built’ design version, including all implemented changes (a hard copy). - Provide the electronic version of the ‘As-Built’ documentation for transfer to the archive. - Provide testing and measuring reports for the installed equipment. - Obtain a permit for operation from the Technical Inspection and Analysis Group of the Electrical and Automation Department.

2. Attachments.

Electrical Design: OLP02585 ‘430-10. Installation of S-200 isolation dampers with fire protection at the bottom of column K-201 according to the HAZOP study “.

3. Description and specifics of work.

3.1. General requirements.

Perform electrical installation works in OS-2 S-100 according to Design OLP02585 „430-10. Installation of S-200 isolation dampers with fire protection at the bottom of column K-201 according to the HAZOP study”. The proposal must include a detailed estimate that separately specifies the planned working hours and the materials. Specify subcontractors, if any.

3.2. Description of work.

- Perform all installation works specified in the electrical part of project OLP02585 - If required, reinstall or modify the existing electrical equipment - Adjust and configure the electrical equipment in accordance with the requirements set in the project. - Troubleshoot and eliminate faults during equipment commissioning (technological equipment start-up).. - The Contractor shall perform all cable disconnection and connection works. - Submit the As-Built documentation in accordance with OL requirements.

3.3. Special requirements (if applicable).

The project implementation is planned during the ORLEN Lietuva Refinery TA2027. (Preliminarily scheduled for spring 2027 – the exact start date and duration will be specified later.) Most installation works can be carried out before the shutdown of the process unit.

Note: Due to production needs, the work schedules may be subject to change.

3.4. Requirements for work execution and documentation.

- Perform all installation and dismantling works in accordance with OL requirements. - Provide the ‘As-Built’ design version, including all implemented changes (electronic and hard copies). - Provide testing and measuring reports for the installed equipment. - Obtaining a permit for operation from the Technical Inspection and Analysis Group of the Electrical and Automation Department. - Provide the electronic version of the ‘As-Built’ documentation for transfer to the archive.

3.5. Qualification requirements for Contractor.

A valid certificate issued by the National Energy Regulatory Council for operation of energy facilities (power equipment) authorizing performance of the works specified in this document.

4. Materials, equipment, and services to be provided by the Owner.

Services provided by Owner: - Scaffolding d/m.

5. Materials, equipment, and services to be provided by the Contractor.

All materials specified and not specified in the Project are supplied by the Contractor. All materials and equipment supplied by the Contractor must be approved by the Owner. The materials must be certified according to the ATEX Directive. The certificate must be provided.

6. Requirements for work completion.

1. Submission of As-Built documentation by the Contractor to the Owner, with all defects identified during the review process fully rectified. 2. Submission of all necessary documentation, bills of used materials, certificates and material supplier documents. 3. Cleaning of the work site and surrounding area (planting, sloping), reinstatement of roads, collection and disposal of waste. 4. Elimination of all identified defects. 5. A work handover–acceptance statement signed by the Owner and the Contractor. 6. Obtaining a permit for operation from the Technical Inspection and Analysis Group of the Electrical and Automation Department.

7. Requirements for work acceptance.

- Works shall be accepted in accordance with the OL procedures.

- Works shall be considered accepted after the requirements outlined in Item 6 have been fulfilled and all equipment tested (after commissioning).

8. Requirements for work schedule.

The work shall be performed during the ORLEN Lietuva Refinery 2027 Turnaround. (Preliminarily scheduled for spring 2027 – the exact start date and duration will be specified later.) The proposal shall include a work execution schedule. Provide a materials supply schedule.